## Table 1
NORTHSIDE HOSPITAL INTERIM LIFE SAFETY MATRIX |  |  |  | 1. Ensure unobstructed exits. | 2. Alternate exits designated/ train staff. | 3. Maintain escape routes. | 4. Inspect exiting daily. | 5. Emergency services access. | 6. Ensure fire alarm, detection, suppressor systems are operational. | 7. Provide a temporary but equivalent smoke detection system to include monthly testing documentation. | 8. Ensure temporary partitions are smoke tight & noncombustible/ limited combustion. | 9. Provide fire extinguishers and training/ or fire watch. | 10. Prohibit smoking. | 11. Reduce fire load. | 12. Conduct 2-fire drills/ shifts/ quarter. | 13. Increase hazard surveillance. | 14. Notify local area users and/ or compartmentalization training. | 15. Conduct organizational life safety training to promote awareness of building deficiencies, construction hazards, & temporary measures. | 16. Notify Emergency Forces. | 17. Other
Project:
Address: | Date:
Life Safety Name:
Life Safety Signature:
Items listed below are present or will be present during a construction project. |  | Yes | No
1. Door latching problems not Immediately repairable. |  |  | X
2. Fire exit stairs discharge improperly. |  |  | X
3. Excessive travel distance to an approved exit. |  |  | X
4. Lack of two remote exits. |  |  | X
5. Blocking of an exit due to construction activities. |  |  | X
6. Rerouting of vehicular traffic due to construction activities. |  |  | X
7. Taking a detection/ suppression system out of service for repair/ modification > 4 hrs. |  |  | X
8. Taking a detection/ suppression system out of service for repair/ modification < 4 hrs. |  |  | X
9. Rerouting of traffic to the Emergency Room. |  |  | X
10. Improperly protected vertical openings. |  |  | X
11. Penetrations in fire or smoke barriers. |  |  | X
12. Corridor walls do not extend to the structure. |  |  | X
13. Hazardous areas not properly protected. |  |  | X
14. Renovation of an occupied floor when life safety systems affected. |  |  | X
15. Adding an addition to an existing structure. |  |  | X
16 |  |  | X